## Slide 1: Iot Based Health Monitoring System
Submitted by:
Sana Mohammadi Mulla 2BL15CS084
Shambhavi Tolnur 2BL15CS092
Soumya Potnis 2BL15CS110
Under the guidance of:
Dr. Prema T. Akkasaligar
B. L. D. E. Associaion’s
V.P. Dr. P.G. HALAKATTI COLLEGE OF ENGINEERING AND TECHNOLOGY, VIJAYAPUR – 586 103
DEPARTMENT OF COMPUTER SCIENCE AND ENGINEERING
VTU FOSS PROJECT COMPETITION

## Slide 2: Contents
Introduction
Internet of Things
Literature survey review
Motivation
Objectives
Tools and Technology
Brief explanation about sensors
Connectivity
Snapshots
Applications
Conclusion
References

## Slide 3: Introduction
In today’s era, health problems are increasing day-by-day at a high pace. The death rate of 55.3 million people dying each year, it is a big issue all over the world.
Hence there is the need to overcome such problems.
We, therefore, proposing a change in wireless sensors technology by designing a system which included different wireless sensors to receive information with respective human body temperature, heart rate, ECG .
That will be undoubtedly further transmitted on an IoT platform which is accessible by the user via internet.

## Slide 4
Various sensors have been used like AD8232 ECG sensor for remote ECG monitoring,
LM35 temperature sensor is used to measure surface temperature of skin.

## Slide 5
CATEGORY: Assistive Technologies
Education
FREE AND OPEN SOURCE SOFTWARE: python3.7
Raspbian OS.
License: python- Copyright (c) 2001-2019 Python Software Foundation. All rights reserved.
Raspbian - open source OS.
PHP- open source Copyright © 2001-2019 The PHP Group.
HTML- open source Copyright © 2011 W3C® (MIT, ERCIM, Keio).
URL(Github): https://github.com/ShambhaviAT/IOT_health/

## Slide 6: Internet of Things
The IoT is used in healthcare domain to improve the quality of human life by assisting basic tasks that humans must perform through application.
Sensors can be placed on health monitoring equipment used by patients.
The information collected by these sensors is made available on the Internet to doctors, family members and other interested parties in order to improve treatment and responsiveness.
We can track the persons body temperature, heart beat rate, blood pressure, etc. in case of emergency, the individual and their personal doctor will be notified with all the data collected by the sensors.
This system will be very useful to senior citizens and disabled people who live independently.

## Slide 7: Literature Survey Review
1] Sneha N. Malokar , Samadhan D. Mali,“ A IOT based health care monitoring system ”.
Here authors used Arduino shield to connect different sensors like temperature LM-35 sensor, blood glucose sensor and blood pressure sensor. By using LabVIEW software one can take reading of different parameters from the patient’s body. The updated data displayed on LabVIEW front panel using Data Dashboard application.
This collected biometric information sent wirelessly via ZigBee.
DRAWBACK: Network connectivity issue

## Slide 8
2] Amit S. Wale, Shilpa S. Sonawani, and Shridevi C. Karande, “A survey on ECG signal monitoring through sensor andprediction of heart attack”.
The electrocardiogram (ECG) is the most important bio signal used by cardiologists for diagnostic purposes. This signal provides key information about the electrical activity of the heart.
The heart signals are taken from ECG, which is known as Electrocardiography.
That the heart signals are picked by using electrodes in arms, leg, chest of our body. By using this signal heart disorder can be find out.
Depend on the shape of the ECG waveform, find out the cardiac health.
DRAWBACK: Low electrode pad sensitivity.
Literature Survey Review Cont…

## Slide 9
3] Caritas Patil , Saumitra Jondhale, Suraj Mishra, Sandeep Tidke, and Ramesh Abhishek, “A survey on iot based heart based IOT monitoring system”.
In this paper, they presented the design and development of an integrated device for measuring heart rate using fingertip to improve estimating the heart rate.
As heart related diseases are increasing day by day, the need for an accurate and affordable heart rate measuring device or heart monitor is essential to ensure quality of health.
They proposed Heart Rate Measuring (HRM) device is economical and user friendly and uses optical technology to detect the flow of blood through index finger.
Drawback: It may cause some skin irritation if you use same sensor over and over the finger.
Literature Survey Review Cont…

## Slide 10: Motivation
In rural hospitals, the facilities for health care are limited. The poor quality of health management enables issues in health care system. Everyone should get the knowledge of own health as easy and as early as possible.
The latest report of The India Spend analysis of data says that the 500,000 doctors shortage in India. WHO defines the doctor-patient ratio will be 1:1000 which has been failed in India.
There is a lack of resources and management to reach out the problems of individuals in developing countries. It becomes very expensive for a common man to afford daily health check-up of his health.
Thus IOT system has been developed for this purpose to give assured. Theses system reduces time with safely handled equipment.

## Slide 11: Objectives
To develop health monitoring system i.e. it measures body temperature, heart rate, and ECG of patient.
To design a system to store the patient data over a period of time using database management module.
To do analysis of collected data from sensors.
The main objective of our project is to make health monitoring system simple, accurate and cost effective.

## Slide 12
Temperature sensor(LM35):
LM35 is an integrated analog temperature sensor whose electrical output is proportional to Degree Centigrade.
The output of sensor converted to digital that easy connecting with microprocessor.
Fig 1: pin diagram of LM35
sensor
Brief explanation about sensors
As you can see the third pin is connected to GND, the first pin is connected to VCC & the second pin is connected to the Microprocessor input/output.
Just use single PIN female to female wire to connect with the leads of LM35 temperature sensor. So when the temperature is sensing, it give the sensor reading to controller.

## Slide 13
Heart Rate sensor (TCRT1000):
The heartbeat sensor is based on the principle of photo phlethysmography.
It measures the change in volume of blood through any organ of the body which causes a change in the light intensity through that organ (a vascular region).
Fig 2: TCRT1000 sensor
Cont…
In case of applications where heart Pulse rate is to be monitored, timing of the pulses is more important.
The flow of blood volume is decided by the rate of heart pulses and since light is absorbed by blood, the signal pulses are equivalent to the heart beat pulses.

## Slide 14
ECG Sensor: AD8232
ECG sensor module consist of ECG kit and electrodes
It is designed to extract, amplify, and filter small biopotential signals in the presence of noisy conditions, those created by electrode placement on different parts of body.
The AD8232 Heart Rate Monitor breaks out nine connections from the IC that you can solder pins, wires, or other connectors to.
SDN, LO+, LO-, OUTPUT, 3.3V, GND provide essential pins for operating this monitor with an raspberry pi board. Also provided on this board are RA (Right Arm), LA (Left Arm),and RL (Right Leg) pins to attach and use your own custom sensors. Biomedical Sensor Pads and Sensor Cable are required to use the heart monitor.
Fig 3:ECG sensor Cable with kit
Fig 4: ECG sensor Pads
Cont…

## Slide 15
Raspberry Pi:
The Raspberry Pi is a low cost, credit-card sized computer that plugs into a computer monitor or TV, and uses a standard keyboard and mouse.
It is a microprocessor.
Operating system –Linux
The Raspberry Pi Foundation provides Raspbian.
Memory - 1GRAM.
Storage - MicroSDHCSlot.
Power-1.5W to 6.7W
It has 17 GPIO.
And also has Wi-Fi/Bluetooth Soc.
Fig 5:Raspberry pi board

## Slide 16: Connectivity
Our application proposes a change in wireless sensors technology by designing a health monitoring system, The proposed IOT system designs and its work flow is shown in Fig 6
Fig 6.: Block diagram of IOT based health monitoring system. It includes three sensors to receive information with respective human body such as temperature, ECG and heart rate; the stored data will be undoubtedly further transmitted on an IoT platform which is accessible by the user via PC. The sensors of temperature, heartbeat, and ECG are connected to the Raspberry Pi. The values from the microcontroller is given to the IOT and displayed on LCD. Further, our IOT system stores patient’s data over a period of time into a database management system. The parameter values can be viewed by the doctor for further disease diagnosis.

## Slide 17: Snap Shots
Fig 7: Snapshot of login page

## Slide 18
Fig 8: Menu page of the site.

## Slide 19
Fig 9: Enroll for new patient Id.

## Slide 20
Fig 10: Entering Pid to know or to save the recorded data.

## Slide 21
Fig 11: Review of data

## Slide 22
Fig 12: Patient data in the database

## Slide 23: Results And Discussions
Fig 13: LM35(Temperature sensor) Connectivity

## Slide 24
Age | Sex | Patient Id | Temp using sensor | Temp using Thermometer | Date and Time
57 | F | 6 | 33 | 31 | 19/3 8:30am
57 | F | 6 | 33 | 32 | 19/3 9:30pm
57 | F | 6 | 32 | 30 | 20/3 8:45am
57 | F | 6 | 33 | 31 | 20/3 8:30pm
55 | M | 7 | 34 | 31 | 21/3 8:30am
55 | M | 7 | 34 | 31 | 21/3 8:00pm
27 | M | 8 | 33 | 30 | 22/3 8:00am
27 | M | 8 | 32 | 33 | 22/3 8:45pm
Patient Body Temperature Analysis

## Slide 25: ECG Sensor(AD8232)
Fig 14: AD8232(ECG sensor) Connectivity

## Slide 26
Fig 15: ECG sensor result

## Slide 27: Heart Rate Sensor(TCRT1000)
Fig 16: TCRT1000(Heart Rate sensor) Connectivity

## Slide 28: Applications
Laboratory testing of patient can be provided at low cost.
Remote health diagnosis of patient.
Focus on the Research Side of Healthcare.

## Slide 29: Conclusion
The IOT applications are key enabling technologies in medical service. It is important way for taking care of patient’s health.
We proposes an IOT physiological monitoring system that is capable of continuously monitoring the patient’s various parameters using various sensors.
The system demonstrates the use of smart healthcare system.
With the help of proposed system, nursing staff work can be reduced in hospital as persistent monitoring of patients is provided using sensors.

## Slide 30: References
[1]Sneha N. Malokar , Samadhan D. Mali.” A IOT based health care monitoring
system”, International journal of advanced research in electrical, electronics and
instrumentation engineering|vol.(6),issue(6), June 2017, pp.4661-4667.
[2] Amit s. Wale, Shilpa S. Sonawani, Shridevi C. Karande “A survey on ECG signal monitoring through sensor andprediction of heart attack with the help of optimized neural network using genetic algorithm” International journal of latest trends in engineering and technology vol.(8), issue(1), pp.148-155.
[3] Caritas Patil, Saumitra Jondhale, Suraj Mishra, Sandeep Tidke, Ramesh Abhishek, “A survey on IOT based heart monitoring system” International journal for science and research in technical education 2017, pp.1-3.

## Slide 32: Briefly about ECG
ECG paper is marked with a grid of small and large squares. Each small square represents 40 milliseconds (ms) in time along the horizontal axis and each larger square contains 5 small squares, thus representing 200 ms. Standard paper speeds and square markings allow easy measurement of cardiac timing intervals. This enables calculation of heart rates and identification of abnormal electrical conduction within the heart .

## Slide 33
The normal ECG
It will be clear from above that the first structure to be depolarised during normal sinus rhythm is the right atrium, closely followed by the left atrium. So the first electrical signal on a normal ECG originates from the atria and is known as the P wave.
There is then a short, physiological delay as the atrioventricular (AV) node slows the electrical depolarisation before it proceeds to the ventricles. This delay is responsible for the PR interval, a short period where no electrical activity is seen on the ECG, represented by a straight horizontal or ‘isoelectric’ line.
Depolarisation of the ventricles results in usually the largest part of the ECG signal (because of the greater muscle mass in the ventricles) and this is known as the QRS complex.
The Q wave is the first initial downward or ‘negative’ deflection
The R wave is then the next upward deflection (provided it crosses the isoelectric line and becomes ‘positive’)
The S wave is then the next deflection downwards, provided it crosses the isoelectric line to become briefly negative before returning to the isoelectric baseline.

## Slide 34
P Waves: P waves are the first "bump" on the EKG. They represent the time when the atria, the upper chambers of the heart, are squeezing blood through the heart.
QRS Complex: The QRS complex is when the ventricles, the lower chambers of the heart, contract. This will distribute blood throughout the body.
T Waves: The T wave comes after each QRS complex and represents the brief moment when the heart relaxes before starting to squeeze again.

## Slide 35
Normal intervals
The recording of an ECG on standard paper allows the time taken for the various phases of electrical depolarisation to be measured, usually in milliseconds. There is a recognized normal range for such ‘intervals’:
PR interval (measured from the beginning of the P wave to the first deflection of the QRS complex). Normal range 120 – 200 ms (3 – 5 small squares on ECG paper).
QRS duration (measured from first deflection of QRS complex to end of QRS complex at isoelectric line). Normal range up to 120 ms (3 small squares on ECG paper).
QT interval (measured from first deflection of QRS complex to end of T wave at isoelectric line). Normal range up to 440 ms (though varies with heart rate and may be slightly longer in females)

## Slide 36: Heart Rate
The heart rate is one of the 'vital signs,' or the important indicators of health in the human body. It measures the number of times per minute that the heart contracts or beats.
The normal resting heart rate for adults over the age of 10 years, including older adults, is between 60 and 100 beats per minute (bpm). The heart is a muscular organ in the center of the chest. When it beats, the heart pumps blood containing oxygen and nutrients around the body and brings back waste products.
A healthy heart supplies the body with just the right amount of blood at the right rate for whatever the body is doing at that time.
For example, being frightened or surprised automatically releases adrenaline, a hormone, to make the heart rate faster. This prepares the body to use more oxygen and energy to escape or confront potential danger.

## Slide 37
The pulse is often confused with the heart rate but refers instead to how many times per minute the arteries expand and contract in response to the pumping action of the heart.
The pulse rate is exactly equal to the heartbeat, as the contractions of the heart cause the increases in blood pressure in the arteries that lead to a noticeable pulse.
Taking the pulse is, therefore, a direct measure of heart rate.